## Slide 1: B-field calculation for new TPC experiment and some calibration
Ryosuke Yamamura
2007.12.22

## Slide 2: Outline
Calculation of magnetic field
(using Radia)
Drift line
Calibration

## Slide 3: Radia

## Slide 4: About Radia
Radia was magnetic calculation code built at the European Synchrotron Radiation Facility(ESRF)
using Boundary Integral Methods
(TOSCA : using Finite Elementary Methods)

## Slide 5: Radia(compared with TOSCA)
The advantages
・free software
・does not need to mesh the vacuum
・could calculate full-geometry
(It is hard using TOSCA)
The disadvantages
・could not use on miho
more

## Slide 6: Calculation
・z-position
Solenoid center=-1545.4mm(test exp)
=-1613.9mm(next exp)
Dipole center=0mm
・Gap(Dipole-solenoid)
400mm(test exp)
468.5mm(next exp)
Solenoid current = 60A,45A (45A: for test exp)

## Slide 7: Solenoid cross section
z(mm)

## Slide 8: B-field(on z-axis)
Bx(T)
z(mm)
By(T)
z(mm)
Bz(T)
z(mm)
Solenoid
Dipole
z=-1545.4mm

## Slide 9: Solenoid magnetic field
Master thesis Sawada-san
(using TOSCA)
Using Radia(x=0,y=0)
z(mm)
Bz(T)
(x=150mm,y=0)
Bz(T)

## Slide 10: LEPS Magnet 3D view from Radia

## Slide 11
Other pictures

## Slide 12: Drift-line
・using B-field map made by Radia(60A)

## Slide 13
Drift line(x-z plane)
Test exp
(solenoid-Dipole gap=400mm)
Next exp
(Solenoid-Dipole gap=468.5mm)
Move solenoid magnet 68.5mm upstream
mm
mm
mm
mm
TPC
loss
Improve!
Shield
Drift plane

## Slide 14
Drift line(x-y plane) for pad9
Test exp
(solenoid-Dipole gap=400mm)
Next exp
(Solenoid-Dipole gap=468.5mm)
overlap
mm
mm
mm
mm
TPC

## Slide 15: Calibration(TPC test exp r11028) -still in progress

## Slide 16: Rf-inner
・It couldn’t solve the 2ns bunch(rf)
using inner scintillator
・inner scintillator’s time resolution was
more than 700ps (from cosmic-ray test)
→so use Rf-tagger

## Slide 17: Rf-Tagger
Before slewing correction
After slewing correction

## Slide 18: Rf-Tagger
It could solve 2ns bunch(rf)
using rf-tagger
Tagger PL resolution
≅219ps
Gaussian Fitting